## 00 41 00 Bid Form
Section I - Division A: Sanitary Sewer Line Construction
Sanitary Sewers - All materials shall meet the requirements of the Bedford Regional Water Authority Master Specificaitons. The unit price of pipe shall also include any costs incurred by the contractor for tying into any existing structure or pipe (excluding machine coring of manholes).
Item No. | Description | Quantity | Unit | Unit Price | Total
IA - 1 | 4" PVC Sewer pipe (SDR 35) | 500 | l.f. | 0 | 0
| 6" PVC Sewer pipe (SDR 35) | 500 | l.f. | 0 | 0
| 8" PVC Sewer pipe (SDR 35) | 1000 | l.f. | 0 | 0
| 10" PVC Sewer pipe (SDR 35) | 100 | l.f. | 0 | 0
| 12" PVC Sewer pipe (SDR 35) | 100 | l.f. | 0 | 0
| 16" PVC Sewer pipe (SDR 35) | 100 | l.f. | 0 | 0
| 18" PVC Sewer pipe (SDR 35) | 100 | l.f. | 0 | 0
| 4" PVC Sewer pipe (SDR 26) | 100 | l.f. | 0 | 0
| 6" PVC Sewer pipe (SDR 26) | 100 | l.f. | 0 | 0
| 8" PVC Sewer pipe (SDR 26) | 2000 | l.f. | 0 | 0
| 10" PVC Sewer pipe (SDR 26) | 100 | l.f. | 0 | 0
| 12" PVC Sewer pipe (SDR 26) | 100 | l.f. | 0 | 0
| 16" PVC Sewer pipe (SDR 26) | 100 | l.f. | 0 | 0
| 18" PVC Sewer pipe (SDR 26) | 100 | l.f. | 0 | 0
| 6" D.I. Sewer pipe (Protecto 401 lining) | 100 | l.f. | 0 | 0
| 8" D.I. Sewer pipe (Protecto 401 lining) | 500 | l.f. | 0 | 0
| 10" D.I. Sewer pipe (Protecto 401 lining) | 200 | l.f. | 0 | 0
| 12" D.I. Sewer pipe (Protecto 401 lining) | 100 | l.f. | 0 | 0
| 16" D.I. Sewer pipe (Protecto 401 lining) | 50 | l.f. | 0 | 0
| 18" D.I. Sewer pipe (Protecto 401 lining) | 50 | l.f. | 0 | 0
IA - 2 | Bored or jacked 4" PVC Sewer pipe (SDR 26) | 100 | l.f. | 0 | 0
| Bored or jacked 6" PVC Sewer pipe (SDR 26) | 50 | l.f. | 0 | 0
| Bored or jacked 8" PVC Sewer pipe (SDR 26) | 200 | l.f. | 0 | 0
| Bored or jacked 8" DI Sewer pipe | 200 | l.f. | 0 | 0
| Bored or jacked 12" DI Sewer pipe | 50 | l.f. | 0 | 0
IA - 3 | Concrete Manhole, 48" diameter | 200 | v.f. | 0 | 0
| Concrete Manhole, 60" diameter | 20 | v.f. | 0 | 0
| Concrete Manhole, 72" diameter | 10 | v.f. | 0 | 0
| Concrete Manhole, 84" diameter | 10 | v.f. | 0 | 0
IA -4 | Interior Drop Connection (MH-6) | 2 | ea. | 0 | 0
IA - 5 | Doghouse Manhole | 20 | v.f. | 0 | 0
IA - 6 | Precast concrete riser ring | 5 | v.f. | 0 | 0
IA - 7 | Manhole Frame and Cover, Standard (FC-1) | 20 | ea. | 0 | 0
| Manhole Frame and Cover, Watertight (FC-2) | 20 | ea. | 0 | 0
IA - 8 | 4" x 4" PVC Wye | 5 | ea. | 0 | 0
| 6" x 4" PVC Wye | 5 | ea. | 0 | 0
| 8" x 6" PVC Wye | 5 | ea. | 0 | 0
| 6” X 4” D.I. Wye (Protecto 401 lining) | 2 | ea. | 0 | 0
| 8” X 4” D.I. Wye (Protecto 401 lining) | 10 | ea. | 0 | 0
| 8” X 6” D.I. Wye (Protecto 401 lining) | 5 | ea. | 0 | 0
| 12” X 4” D.I. Wye (Protecto 401 lining) | 2 | ea. | 0 | 0
| 12” X 6” D.I. Wye (Protecto 401 lining) | 10 | ea. | 0 | 0
IA - 9 | 4" PVC Cleanout assembly (CO-2) | 15 | ea. | 0 | 0
| 4" PVC Double cleanout assembly (CO-3) | 5 | ea. | 0 | 0
| 6" PVC Cleanout assembly (CO-2) | 5 | ea. | 0 | 0
| 8" PVC Terminal Cleanout assembly (CO-1) | 5 | ea. | 0 | 0
IA - 10 | 4" PVC (Cleanout vertical pipe where > 6' depth) | 50 | l.f. | 0 | 0
| 6" PVC (Cleanout vertical pipe where > 6' depth) | 50 | l.f. | 0 | 0
IA - 11 | 8" PVC vertical pipe for terminal cleanout (> 6' depth) | 50 | l.f. | 0 | 0
IA - 12 | Standard cleanout cover | 10 | ea. | 0 | 0
| Traffic bearing cleanout cover | 10 | ea. | 0 | 0
IA - 13 | Service saddle on existing line (4" and 6" tap) | 5 | ea. | 0 | 0
IA - 14 | Machine Coring Manholes (Up to 12") | 10 | ea. | 0 | 0
IA - 15 | 4-inch "Harco" type coupling | 10 | ea. | 0 | 0
| 6-inch "Harco" type coupling | 10 | ea. | 0 | 0
| 8-inch "Harco" type coupling | 10 | ea. | 0 | 0
| 10-inch "Harco" type coupling | 10 | ea. | 0 | 0
| 12-inch "Harco" type coupling | 10 | ea. | 0 | 0
IA - 16 | Frame-Chimney Seals | 10 | ea. | 0 | 0
IA - 17 | 2" Sewer Air Release Valve (< 100 psi, AR-3) | 5 | ea. | 0 | 0
| 2" Sewer Air Release Valve (> 100 psi, AR-4) | 5 | ea. | 0 | 0
IA - 18 | 1-1/4" Force Main Connection (GP-2) | 5 | ea. | 0 | 0
| 2" Force Main Connection (GP-2) | 2 | ea. | 0 | 0
|  | Total Section I Division A |  | 0
Section I - Division B: Waterline Construction
Water Lines - All materials shall meet requirements of applicable sections of the Bedford Regional Water Authority Master Specifications.
Item No. | Description | Quantity | Unit | Unit Price | Total
IB - 1 | 2" Water pipe (PVC) | 300 | l.f. | 0 | 0
| 3" Water pipe (PVC) | 500 | l.f. | 0 | 0
| 4" Water pipe (PVC) | 2700 | l.f. | 0 | 0
| 6" Water pipe (PVC) | 300 | l.f. | 0 | 0
| 8" Water pipe(PVC) | 3000 | l.f. | 0 | 0
| 10" Water pipe (PVC) | 100 | l.f. | 0 | 0
| 12" Water pipe (PVC) | 100 | l.f. | 0 | 0
| 2" Water pipe (DIP) | 50 | l.f. | 0 | 0
| 4" Water pipe (DIP) | 50 | l.f. | 0 | 0
| 6" Water pipe (DIP) | 300 | l.f. | 0 | 0
| 8" Water pipe (DIP) | 200 | l.f. | 0 | 0
| 10" Water pipe (DIP) | 50 | l.f. | 0 | 0
| 12" Water pipe (DIP) | 50 | l.f. | 0 | 0
| 4" Water pipe (R.J.) | 50 | l.f. | 0 | 0
| 6" Water pipe (R.J.) | 50 | l.f. | 0 | 0
| 8" Water pipe (R.J.) | 50 | l.f. | 0 | 0
| 10" Water pipe (R.J.) | 50 | l.f. | 0 | 0
| 12" Water pipe (R.J.) | 50 | l.f. | 0 | 0
IB - 2 | Paved Entrance Crossing (free bore; carrier pipe 6" or less) | 140 | l.f. | 0 | 0
IB - 3 | Fittings (Accessories included) | 7000 | lbs. | 0 | 0
IB - 4 | 2" valves & boxes | 2 | ea. | 0 | 0
| 3" valves & boxes | 1 | ea. | 0 | 0
| 4" valves & boxes | 3 | ea. | 0 | 0
| 6" valves & boxes | 10 | ea. | 0 | 0
| 8" valves & boxes | 10 | ea. | 0 | 0
| 10" valves & boxes | 2 | ea. | 0 | 0
| 12" valves & boxes | 2 | ea. | 0 | 0
| 2” Insert Valve Installation | 1 | ea. | 0 | 0
| 4” Insert Valve Installation | 2 | ea. | 0 | 0
| 6” Insert Valve Installation | 2 | ea. | 0 | 0
| 8” Insert Valve Installation | 2 | ea. | 0 | 0
| 10” Insert Valve Installation | 1 | ea. | 0 | 0
IB - 5 | 4" Wet tap | 3 | ea. | 0 | 0
| 6" Wet tap | 5 | ea. | 0 | 0
| 8" Wet tap | 1 | ea. | 0 | 0
| 10" Wet tap | 1 | ea. | 0 | 0
| 12" Wet tap | 1 | ea. | 0 | 0
IB - 6 | 1" Water services (open cut) | 1500 | l.f. | 0 | 0
| 2" Water services (open cut) | 100 | l.f. | 0 | 0
IB - 7 | 1” Water services (by jacking or boring, casing separate) | 100 | l.f. | 0 | 0
| 2” Water services (by jacking or boring, casing separate) | 25 | l.f. | 0 | 0
IB - 8 | Tie rods (3/4”) | 500 | l.f. | 0 | 0
IB - 9 | Mega- Lugs / mechanical restraints | 500 | lbs. | 0 | 0
IB - 10 | Fire hydrants (high & low pressure, 4’ standard bury) | 7 | ea. | 0 | 0
| Fire hydrant barrel extension for depths greater than 4’ (high & low pressure) | 10 | v.f. | 0 | 0
IB - 11 | 5/8"x3/4", 3/4" Meter Boxes and Meter Assemblies (new construction, SC-1) | 20 | ea. | 0 | 0
| 5/8"x3/4", 3/4" Meter Boxes and Double Meter Assemblies (new construction, SC-3) | 30 | ea. | 0 | 0
| 1” Meter Boxes and Meter Assemblies (new construction - SC-1) | 2 | ea. | 0 | 0
| 2” Meter Boxes and Meter Assemblies (new construction, M-1) | 5 | ea. | 0 | 0
IB - 12 | 5/8"x3/4", 3/4" Meter Boxes and Meter Assemblies (replacement of existing connection, SC-1) | 20 | ea. | 0 | 0
| 5/8"x3/4", 3/4" Meter Boxes and Double Meter Assemblies (replacement of existing connection, SC-3) | 30 | ea. | 0 | 0
| 1” Meter Boxes and Meter Assemblies (replacement of existing connection - SC-1) | 2 | ea. | 0 | 0
| 2” Meter Boxes and Meter Assemblies (replacement of existing connection, M-1) | 5 | ea. | 0 | 0
IB - 13 | Comb. 1” Air Release Valve (AR-2) | 5 | ea. | 0 | 0
| Comb. 2” Air Release Valve (AR-1) | 5 | ea. | 0 | 0
IB - 14 | 2" Blow-off Valve (BC-1) | 5 | ea. | 0 | 0
IB - 15 | 2” Tie-in | 5 | ea. | 0 | 0
| 4” Tie-in | 2 | ea. | 0 | 0
| 6” Tie-in | 1 | ea. | 0 | 0
IB - 16 | 2” Waterline abandonment (cut and cap) | 5 | ea. | 0 | 0
| 4” Waterline abandonment (cut and cap) | 2 | ea. | 0 | 0
| 6” Waterline abandonment (cut and cap) | 2 | ea. | 0 | 0
IB - 17 | 1" - 2" Water Service Tapping Saddle (Up to 6”) | 2 | ea. | 0 | 0
| 1" - 2" Water Service Tapping Saddle (6 “ to 8 “) | 2 | ea. | 0 | 0
| 1" - 2" Water Service Tapping Saddle (8” to 12”) | 2 | ea. | 0 | 0
Water Service Tapping Saddle (16“)
| 1” x 16” | 5 | ea. | 0 | 0
| 2” x 16” | 1 | ea. | 0 | 0
Water Service Tapping Saddle (18“)
| 1” x 18” | 5 | ea. | 0 | 0
| 2” x 18” | 1 | ea. | 0 | 0
Water Service Tapping Saddle (20“)
| 1” x 20” | 1 | ea. | 0 | 0
| 2” x 20” | 1 | ea. | 0 | 0
| 1" Service connections to Asbestos Cement Lines | 5 | ea. | 0 | 0
IB - 18 | Bulkhead Anchor (CA-4) | 5 | ea. | 0 | 0
|  | Total Section I Division B |  | 0
Section I - Division C: Trenching, Backfilling & Compaction of Utilities
Item No. | Description | Quantity | Unit | Unit Price | Total
IC - 1 | Pavement cut and removal, Asphalt Concrete (for pipe installation) | 100 | s.y. | 0 | 0
IC - 2 | Pavement cut and removal, Unreinforced Concrete (for pipe installation) | 50 | s.y. | 0 | 0
IC - 3 | Pavement cut and removal, Reinforced concrete (for pipe installation) | 10 | s.y. | 0 | 0
IC - 4 | Extra depth excavation (Std. depth to 16 feet) | 1000 | c.y. | 0 | 0
| Extra depth excavation (greater than 16 feet) | 100 | c.y. | 0 | 0
IC - 5 | Foundation Stone, VDOT #1 | 50 | T | 0 | 0
IC - 6 | Compacted Aggregate Backfill | 100 | T | 0 | 0
IC - 7 | Course Granular Aggregate Backfill | 100 | T | 0 | 0
IC - 8 | Trench (Select) Borrow Backfill | 500 | c.y. | 0 | 0
IC - 9 | Rock Excavation (trench rock) | 10 | c.y. | 0 | 0
IC - 10 | Maintenance Stone for pipe installation 6" compacted layer, VDOT 21A | 500 | s.y. | 0 | 0
IC - 11 | Aggregate Base Stone for Paved Driveway Repair (6 in. layer) | 200 | s.y. | 0 | 0
IC - 12 | Aggregate Base Stone for Gravel Driveway Repair (6 in. layer) | 200 | s.y. | 0 | 0
IC - 13 | Railroad Ballast | 25 | T | 0 | 0
IC - 14 | Stone dust (spread as directed) | 50 | T | 0 | 0
|  | Total Section I Division C |  | 0
Section I - Division D: Earthwork
Item No. | Description | Quantity | Unit | Unit Price | Total
ID - 1 | Offsite Borrow | 500 | c.y. | 0 | 0
ID - 2 | Regular Excavation | 300 | c.y. | 0 | 0
ID - 3 | Rock Excavation | 10 | c.y. | 0 | 0
ID - 4 | Undercut Excavation | 25 | c.y. | 0 | 0
ID - 5 | Pavement cut and removal | 50 | s.y. | 0 | 0
ID - 6 | Concrete cut and removal | 50 | s.y. | 0 | 0
ID - 7 | Replacement of concrete curb & gutter DOT CG-6 type | 100 | l.f. | 0 | 0
ID - 8 | Replacement of straight curb with DOT Standard CG-2 type | 50 | l.f. | 0 | 0
ID - 9 | Replacement of VDOT standard straight curb with footer | 50 | l.f. | 0 | 0
ID - 10 | Replacement of Concrete driveways, entrances, and sidewalks, 7” thick | 50 | s.y. | 0 | 0
ID - 11 | Replacement of Concrete Sidewalk, 4” thick | 100 | s.y. | 0 | 0
ID - 12 | Facedown Concrete Curb | 100 | l.f. | 0 | 0
ID - 13 | Replacement of Concrete Handicap Ramp | 50 | s.y. | 0 | 0
ID - 14 | Unformed Concrete | 10 | c.y. | 0 | 0
ID - 15 | Formed Concrete | 10 | c.y. | 0 | 0
ID - 16 | Reinforcing Wire Mesh (6”X6”, 10 GA) | 10 | ea. | 0 | 0
ID - 17 | Reinforcing Steel Bars | 100 | lbs. | 0 | 0
|  | Total Section I Division D |  | 0
Section I - Division E: Miscellaneous to All Sections
Item No. | Description | Quantity | Unit | Unit Price | Total
IE - 1 | Clearing and Grubbing, Lightly Wooded Areas | 0.5 | A | 0 | 0
IE - 2 | Clearing and Grubbing, Heavily Wooded Areas | 0.5 | A | 0 | 0
IE - 3 | Flowable fill | 100 | c.y. | 0 | 0
IE - 4 | Seeding and fine grading for areas < 500 s.y. | 1000 | s.y. | 0 | 0
| Seeding and fine grading > 500 s.y. | 2000 | s.y. | 0 | 0
IE - 5 | Straw bale barrier | 100 | l.f. | 0 | 0
IE - 6 | Silt fence barrier | 500 | l.f. | 0 | 0
IE - 7 | Gravel Outfall Structures | 25 | T | 0 | 0
IE - 8 | Temporary Diversion Dikes | 100 | l.f. | 0 | 0
IE - 9 | Construction Entrance | 100 | T | 0 | 0
IE - 10 | Dry rip-rap Class I | 50 | T | 0 | 0
| Grouted rip-rap Class I | 50 | T | 0 | 0
| Dry rip-rap Class II | 50 | T | 0 | 0
| Grouted rip-rap Class II | 50 | T | 0 | 0
| Dry rip-rap, graded, Class A1 | 50 | T | 0 | 0
| Grouted rip-rap, graded, Class A1 | 50 | T | 0 | 0
| Grouted rip-rap, graded, Class A1 | 50 | T | 0 | 0
IE - 11 | VDOT EC-2 matting | 500 | s.y. | 0 | 0
IE - 12 | Tree Removal (6" to 15" in diameter) | 10 | ea. | 0 | 0
IE - 13 | Tree Removal (over 15" in diameter) | 10 | ea. | 0 | 0
IE - 14 | Temporary Seeding (Fall/Winter Mix) | 1000 | s.y. | 0 | 0
IE - 16 | Drop inlet silt trap | 2 | ea. | 0 | 0
IE - 17 | Service connections to Asbestos Cement Service Lines | 5 | ea. | 0 | 0
|  | Total Section I Division E |  | 0
Total Base Bid for Section I – Utility Construction
| Total Division A | 0
| Total Division B | 0
| Total Division C | 0
| Total Division D | 0
| Total Division E | 0
| Total Section I | 0
Section II - Division A: Specialized Utility Construction - Encasement Pipe
Steel casing pipe materials used under highways and railroads shall meet the requirements of applicable agency and sections of the Bedford Regional Water Authority’s Master Specifications.
Item No. | Description | Quantity | Unit | Unit Price | Total
IIA - 1 | 2” Casing for Water or Pressure Sewer (Bored) | 100 | l.f. | 0 | 0
| 4” Steel Casing for Water or Pressure Sewer (Bored) | 600 | l.f. | 0 | 0
| 8” Steel Casing for Water or Pressure Sewer (Bored) | 25 | l.f. | 0 | 0
| 12" Steel Casing for Water or Pressure Sewer (Bored) | 25 | l.f. | 0 | 0
| 16” to 20” Steel Casing for Water/Pressure Sewer (Bored) | 25 | l.f. | 0 | 0
| 18” to 22” Steel Casing for Water/Pressure Sewer (Bored) | 25 | l.f. | 0 | 0
| 20” to 24” Steel Casing for Water/Pressure Sewer (Bored) | 25 | l.f. | 0 | 0
| 30” to 36” Steel Casing for Water/Pressure Sewer (Bored) | 25 | l.f. | 0 | 0
| 8” Steel Casing for Gravity Sewer (Bored) | 50 | l.f. | 0 | 0
| 12" Steel Casing for Gravity Sewer (Bored) | 25 | l.f. | 0 | 0
| 16” to 20” Steel Casing for Gravity Sewer (Bored) | 25 | l.f. | 0 | 0
| 18” to 22” Steel Casing for Gravity Sewer (Bored) | 25 | l.f. | 0 | 0
| 20” to 24” Steel Casing for Gravity Sewer (Bored) | 25 | l.f. | 0 | 0
| 30” to 36” Steel Casing for Gravity Sewer (Bored) | 25 | l.f. | 0 | 0
IIA - 2 | 2” Casing for Water or Pressure Sewer (Open Cut) | 100 | l.f. | 0 | 0
| 4” Steel Casing for Water or Pressure Sewer (Open Cut) | 600 | l.f. | 0 | 0
| 8” Steel Casing for Water or Pressure Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 12" Steel Casing for Water or Pressure Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 16” to 20” Steel Casing for Water/Pressure Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 18” to 22” Steel Casing for Water/Pressure Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 20” to 24” Steel Casing for Water/Pressure Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 30” to 36” Steel Casing for Water/Pressure Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 8” Steel Casing for Gravity Sewer (Open Cut) | 50 | l.f. | 0 | 0
| 12" Steel Casing for Gravity Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 16” to 20” Steel Casing for Gravity Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 18” to 22” Steel Casing for Gravity Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 20” to 24” Steel Casing for Gravity Sewer (Open Cut) | 25 | l.f. | 0 | 0
| 30” to 36” Steel Casing for Gravity Sewer (Open Cut) | 25 | l.f. | 0 | 0
IIA - 3 | Bore Set-up for Water or Pressure Sewer | 25 | ea. | 0 | 0
| Bore Set-up for Gravity Sewer | 25 | ea. | 0 | 0
|  | Total Section II Division A |  | 0
Section II - Division B: Specialized Utilities Construction - Water Line and Sewer Line Construction and Rehabilitation
Item No. | Description | Quantity | Unit | Unit Price | Total
IIB - 1 | Directional Drilling for 2” carrier and casing 0 - 50ft | 50 | l.f. | 0 | 0
| 50 - 100ft | 100 | l.f. | 0 | 0
| 100 - 200ft | 200 | l.f. | 0 | 0
| Directional Drilling for 4” carrier and casing 0 - 50ft | 50 | l.f. | 0 | 0
| 50 - 100ft | 100 | l.f. | 0 | 0
| 100 - 200ft | 200 | l.f. | 0 | 0
| Directional Drilling for 6” carrier and casing 0 - 50ft | 50 | l.f. | 0 | 0
| 50 - 100ft | 100 | l.f. | 0 | 0
| 100 - 200ft | 200 | l.f. | 0 | 0
| Directional Drilling for 8” carrier and casing 0 - 50ft | 50 | l.f. | 0 | 0
| 50 - 100ft | 100 | l.f. | 0 | 0
| 100 - 200ft | 200 | l.f. | 0 | 0
| Directional Drilling for 10” carrier and casing 0 - 50ft | 50 | l.f. | 0 | 0
| 50 - 100ft | 100 | l.f. | 0 | 0
| 100 - 200ft | 200 | l.f. | 0 | 0
IIB - 2 | Rehab of exist sewer using 8-inch flexible liner | 200 | l.f. | 0 | 0
| Rehab of exist sewer using 10-inch flexible liner | 100 | l.f. | 0 | 0
| Rehab of exist sewer using 12-inch flexible liner | 100 | l.f. | 0 | 0
IIB - 3 | Interior Manhole Sealant (Rehabilitation) | 50 | v.f. | 0 | 0
IIB - 4 | Asbestos Cement Pipe Removal (12 l.f. or less) | 12 | l.f. | 0 | 0
| Asbestos Cement Pipe Removal (Greater than 12 l.f.) | 120 | l.f. | 0 | 0
IIB - 5 | Manhole abandonment (to include inlets) | 10 | ea. | 0 | 0
|  | Total Section II Division B |  | 0
Total Base Bid for Section II – Specialized Utility Construction
| Total Division A | 0
| Total Division B | 0
| Total Section II | 0
Section III: Extra Work
Extra Work – In accordance with Document 00 11 13 - Instruction to Bidders concerning extra work, the following unit prices will be used to complete monies owed the contractor as described by Payment for “Extra Work” by unit price method. Equipment prices are to include operator, expenses, overhead, special attachments, insurance, taxes and profit. The unit price for manpower shall include all hand tools and portable power tools necessary for the work being performed. Designation of Model in parenthesis represents minimum size required, other models equal to or greater may be substituted at no increase in price.
Item No. | Description | Quantity | Unit | Unit Price | Total
III – 1 | Single axle dump truck | 150 | hrs. | 0 | 0
III – 2 | Tandem axle dump truck | 200 | hrs. | 0 | 0
III – 3 | Track loader (Model cat 955) | 100 | hrs. | 0 | 0
III – 4 | Rubber tired loader (Model Cat 930) | 150 | hrs. | 0 | 0
III – 5 | Backhoe (wheel type model Case 580) | 200 | hrs. | 0 | 0
III – 6 | Backhoe (crawler type model 225) | 150 | hrs. | 0 | 0
III – 7 | Farm tractor (35 H.P.) | 10 | hrs. | 0 | 0
III – 8 | Concrete Hoe Ram (7,500lbs) | 25 | hrs. | 0 | 0
III – 9 | Vacuum Excavator | 10 | hrs. | 0 | 0
III – 10 | Bobcat Excavator | 50 | hrs. | 0 | 0
III – 11 | Power broom | 100 | hrs. | 0 | 0
III – 12 | Asphalt saw | 20 | hrs. | 0 | 0
III – 13 | Flashing Directional arrow | 50 | hrs. | 0 | 0
III – 14 | Air Compressor (including attachments) | 20 | hrs. | 0 | 0
III – 15 | Man power (Labor & Supervision) | 500 | hrs. | 0 | 0
III – 16 | Traffic Cushion Truck | 10 | hrs. | 0 | 0
III – 17 | Longitudinal Channelizing Devices, i.e. Lighted Barrels | 20 | Ea./day | 0 | 0
III – 18 | Longitudinal Channelizing Devices, i.e. Barrels | 20 | Ea./day | 0 | 0
III – 19 | Type I Barricade | 10 | Ea./day | 0 | 0
III – 20 | Type III Barricade | 10 | Ea./day | 0 | 0
III – 21 | Pilot truck | 50 | hrs. | 0 | 0
III – 22 | Flaggers | 10 | hrs. | 0 | 0
III – 23 | Portable Light Tower | 10 | hrs. | 0 | 0
|  | Total Section III |  | 0
Section IV: On-call Emergency and After-Hours Work
On-Call Emergency and After Hours Work – In accordance with Document 00 11 13 - Instruction to Bidders concerning extra work, the following unit prices will be used to complete monies owed the contractor as described by Payment for “Extra Work” by unit price method. The purpose of this section is to have line item costs associated with Emergency On-Call and After Working hours.
Item No. | Description | Quantity | Unit | Unit Price | Total
IV – 1 | Single axle dump truck | 100 | hrs. | 0 | 0
IV – 2 | Tandem axle dump truck | 100 | hrs. | 0 | 0
IV – 3 | Track loader (Model cat 955) | 50 | hrs. | 0 | 0
IV – 4 | Rubber tired loader (Model Cat 930) | 50 | hrs. | 0 | 0
IV – 5 | Backhoe (wheel type model Case 580) | 100 | hrs. | 0 | 0
IV – 6 | Backhoe (crawler type model 225) | 100 | hrs. | 0 | 0
IV – 7 | Farm tractor (35 H.P.) | 10 | hrs. | 0 | 0
IV – 8 | Concrete Hoe Ram (7,500lbs) | 25 | hrs. | 0 | 0
IV – 9 | Vacuum Excavator | 10 | hrs. | 0 | 0
IV – 10 | Bobcat Excavator | 50 | hrs. | 0 | 0
IV – 11 | Power broom | 50 | hrs. | 0 | 0
IV – 12 | Asphalt saw | 10 | hrs. | 0 | 0
IV – 13 | Flashing Directional arrow | 25 | hrs. | 0 | 0
IV – 14 | Air Compressor (including attachments) | 20 | hrs. | 0 | 0
IV – 15 | Man power (Labor & Supervision) | 500 | hrs. | 0 | 0
IV – 16 | Traffic Cushion Truck | 10 | hrs. | 0 | 0
IV – 17 | Longitudinal Channelizing Devices, i.e. Lighted Barrels | 20 | Ea./day | 0 | 0
IV – 18 | Longitudinal Channelizing Devices, i.e. Barrels | 20 | Ea./day | 0 | 0
IV – 19 | Type I Barricade | 10 | Ea./day | 0 | 0
IV – 20 | Type III Barricade | 10 | Ea./day | 0 | 0
IV – 21 | Pilot truck | 25 | hrs. | 0 | 0
IV – 22 | Flaggers | 10 | hrs. | 0 | 0
IV – 23 | Portable Light Tower | 10 | hrs. | 0 | 0
IV – 24 | After-Hour/ Emergency Mobilization | 1 | LS | 0 | 0
IV – 25 | After-Hours/ Emergency Maintenance of Traffic Setup | 1 | LS | 0 | 0
|  | Total Section IV |  | 0
Bidder acknowledges that (1) each Bid Unit Price includes an amount considered by Bidder to be adequate to cover Contractor’s overhead and profit for each separately identified item, and (2) estimated quantities are not guaranteed, and are solely for the purpose of comparison of Bids, and final payment for all unit price Bid items will be based on actual quantities, determined as provided in the Contract Documents.
Total of Unit Price Bids = Total Bid Price for Section I |  | 0
Total of Unit Price Bids = Total Bid Price for Section II |  | 0
| BASE BID - SECTIONS I & II | 0
Total of Unit Price Bids = Total Bid Price for Section III |  | 0
Total of Unit Price Bids = Total Bid Price for Section IV |  | 0